## Slide 1: Things for AP Lab Set Ups

## Slide 2: Chromatography – 0.1 KCl works best

## Slide 3: Unit 0 – Honors Chem Review

## Slide 4: Gravimetric Analysis of a Mixture

## Slide 5: Gravimetric Analysis of a Mixture
Chemicals
Mixture of NaCl and Na2CO3 in a vial (~2 g of mixture)
0.40 M CaCl2 solution, 80mL
Equipment in Yellow Bins
Beaker, 250 mL
Filter flask with Buchner Funnel
Graduated cylinder, 100 mL
Glass stir rod
Rubber policeman
Filter paper, qualitative
Weigh boat
Digital scale
Drying oven
Wash Bottle with DI H2O
Large beaker up front on demo table
Larger white tray up front on demo table
CaCl2 solution in beaker(s) up front with pipettes. They will get 80mL up front and bring back to table.

## Slide 6
1 trial |  |  |  |  | 
Sample | % | Amount in each vial | # benches | x _____ periods | = total needed
4 grams | x 0.35 Na2CO3 | 1.40 g Na2CO3 | x 8 | x 4.25 | = 47.6 g
 | x 0.65 NaCl | 2.60 g NaCl | x 8 | x 4.25 | = 88.4 g
Teacher’s Notes: a 35% Na2CO3 to 65% NaCl mixture works well for this procedure. If you up the percentage of Na2CO3, then increase the CaCl2 solution to ensure that all the CO32- is precipitated out.
0.40 M CaCl2 Needed | # benches | Per period | x ____ periods | = total needed | Rounded up for extra
80 mL | x 8 | = 640 mL | x 4 | = 2560 mL | Make ___3____ Liters
 |  |  | To make 1 L CaCl2
1 L | 0.40 mol | 110.98 g | = 44.392 g CaCl2
 | 1 L | 1 mol CaCl2 | 
Teacher’s Notes: Fill a 5mL screw top vial ~4mL full. Err on the side of a little more. Trying to get roughly 4g in each tube. All benches get their own vial per period. Making CaCl2 exothermic. Gets decently hot. Mix slowly in beaker then transfer to vol. flask and dilute to mark.
8 vials per period | 
x ___ periods | 4
Total # vials | 32
+ a few extra | = 35

## Slide 7: Gravimetric Analysis of a Mixture
DON’T FORGET
LABEL WEIGH BOAT WITH LAB BENCH AND PERIOD!
Dry weight of weigh boat + filter paper
Wet filter paper down!
Filter carefully  keep that ppt on top of the filter paper!
Cleanup
Goggles in UV Cabinet nicely!
Reset trays for next period!
Filtrates can go down the drain  FLUSH DRAIN WITH WATER!
Precipitate + filter paper in weigh boat  UP FRONT IN BIN!
Plastic vial with orange lid  UP FRONT IN BIG BEAKER!

## Slide 8: Gravimetric Analysis of a Mixture
DON’T FORGET
LABEL WEIGH BOAT WITH LAB BENCH AND PERIOD!
Dry weight of weigh boat + filter paper
Wet filter paper down!
Filter carefully  keep that ppt on top of the filter paper!
Clean up instructions will be on next slide towards the end of the class period!
Last period of the day

## Slide 9
Cleanup
Goggles in UV Cabinet nicely!
Filtrates and extra CaCl2 can go down the drain  FLUSH DRAIN WITH WATER!
Precipitate + filter paper in weigh boat  UP FRONT IN BIN!
Plastic vial with orange lid  UP FRONT IN BIG BEAKER!
Hand pump up front in pink bin!
Stay on table:
Nothing!
Put away in cabinets/drawers:
Any clean/dry beakers – in top cabinets, shelves have labels for sizes you can leave tape on them
Grad Cylinders – top cabinet by table 3
DI water bottles – top cabinet by table 3
Filter Flasks – top cabinet by table 4-5
Stir rod – drawer table 2
Buchner Funnels – bin up front
Trays - stacked nicely by table 5
Throw away:
Pipettes
Paper towels

## Slide 10: Gravimetric Analysis of a Mixture – DAY 2
DON’T FORGET
USE THE SAME SCALE YOU USED YESTERDAY!
Cleanup
Dry precipitate and filter paper  in trash after Day 2
Report data on shared spreadsheet  https://tinyurl.com/2p894e48

## Slide 11: % Comp Ag-Cu Alloy Bead

## Slide 12: % Comp Ag-Cu Alloy Bead
DAY 1
100 mL beaker labeled
Watch Glass
Weigh Boat labeled
6 M Nitric Acid – in hood
Graduated Cylinder – in hood
DAY 2
100 mL beaker
DI water
Weigh Boat Labeled
Scoop
Stir rod
Buchner funnel w/ collar
Filter flask
Hose/aspirator/beaker in sink
Filter paper + mesh disk
Hot plate
25mL graduated cylinder
NaCl – up front
Scale – up front
70% alcohol – up front
Plastic grad cylinder up front
Day 3
Scale

## Slide 13: DAY 1
Put weigh boat on scale
Tare the scale
Weigh the bead
Put bead in beaker
Bring to hood
Add 10mL nitric acid
Watch Glass
Sit in hood over night
Calculate NaCl needed to ppt 100% Ag bead

## Slide 14: DAY 2
Weigh weighboat + dry filter paper
Set up Buchner funnel
Weigh 2x NaCl calculated on Day 1 into beaker – up front
Add 25 mL H2O to make salt solution
Add NaCl sol’n to dissolved bead
Filter
Rinse with nitric acid wash – share the bottle
Rinse with 10mL alcohol – up front
Collect on weigh boat
Dry overnight

## Slide 15: DAY 3
Weigh weighboat + filter paper + product
Do calculations

## Slide 16: Bead = 92% Ag

## Slide 17: Unit 1 – Thermochemistry

## Slide 18: Determining the Enthalpy of a Reaction w/microscale calorimetry

## Slide 19: Enthalpy of a Rxn – 2 trials
Chemicals
1.0 M HCl x 500mL per period
MgO x 2g per period
Mg ribbon x 60cm per period
Shared Lab Data: https://tinyurl.com/2p894e48
Equipment
Vernier computer interface
Temp probe
Microcalorimeter
Forceps
Weigh boat
25mL grad cylinder
Stir plate
Scoopula
Stir bar and pink labeled stir bar beaker
DI H2O bottle

## Slide 20
TWO TRIALS |  |  |  | 
Chemical | per period | x _____ periods | = total needed | Rounded up for extra
HCl, 1.0 M | 480 mL | x 4 | 1920 mL | 3 L
MgO | 1.6 g | x 4 | 6.4 g | 10 g
Mg ribbon | 56 cm | x 4 | 224 cm | 250 cm
M1V1 = M2V2  V1 = M2V2 M1 |  |  | To make 1 L HCl
M2 | V2 | M1 | V1 = 0.333 L
1 | 1 L | 6 M | = 167 mL
M1V1 = M2V2  V1 = M2V2 M1 |  |  | To make 1 L HCl
M2 | V2 | M1 | V1 = 0.333 L
1 | 1 L | 3 M | = 333 mL
Teacher’s Notes:
Accepted Value =
MgO Heat of formation = -601.6 kJ/mol

## Slide 21
Report data on shared spreadsheet  https://tinyurl.com/2p894e48
Tips
One graph with two trial lines
Write down which color line is which trial
Cleanup
Goggles in UV Cabinet nicely!
Reset trays for next period!
Used chemicals can go down the drain  FLUSH DRAIN WITH WATER!
MgO Beakers UP FRONT!
WIPE DOWN BENCHES WITH WATER and TOWELS

## Slide 22
Cleanup
Goggles in UV Cabinet nicely!
Stay on table:
Nothing!
Table 8
Stir plate and cord
Stir bar inside pink beaker
Stir bar retriever
Vernier computer interface back in the box NICELY
Temp probe dry and in plastic bag NICELY
Calorimeter DRIED
Weigh boats DRIED
Put away in cabinets/drawers:
Graduated cylinders – top cabinet by table 3
DI water bottles – top cabinet by table 3
Forceps – in drawer on table 3
Scoopula – in drawer under DI water jug near table 2
Trays
    stacked nicely by table 5
Trash
Paper towels
WIPE DOWN BENCHES WITH WATER and TOWELS

## Slide 23: Determining the Enthalpy of a Reaction

## Slide 24: Enthalpy of a Rxn – 3 trials
Chemicals
2.0 M HCl x 750mL per period
2.0 M NaOH x 750mL per period
2.0 M NH4Cl x 450mL per period
2.0 M NH4OH x 450mL per period
Thermo data
Shared Lab Data: https://tinyurl.com/2p894e48
Equipment
Vernier computer interface
Temp probe
Styrofoam cup
600mL beaker
2 x 250mL beaker (to come get chemicals)
50mL graduated cylinder
Stir bar
Stir plate
Ring stand
Utility clamp
DI H2O bottle

## Slide 25: Enthalpy of a Rxn – 2 trials
Chemicals
2.0 M HCl x 500mL per period
2.0 M NaOH x 500mL per period
2.0 M NH4Cl x 300mL per period
2.0 M NH4OH x 300mL per period
Thermo data
Shared Lab Data: https://tinyurl.com/2p894e48
Equipment
Vernier computer interface
Temp probe
Styrofoam cup
600mL beaker
2 x 250mL beaker (to come get chemicals)
50mL graduated cylinder
Stir bar
Stir plate
Ring stand
Utility clamp
DI H2O bottle

## Slide 26
THREE TRIALS |  |  |  | 
Chemical | mL per period | x _____ periods | = total needed | Rounded up for extra
HCl, 2.0 M | 750 | x 4 | 3000 mL | 4 L
NaOH, 2.0 M | 750 | x 4 | 3000 mL | 4 L
NH4Cl, 2.0 M | 450 | x 4 | 1800 mL | 3 L
NH4OH, 2.0 M | 450 | x 4 | 1800 mL | 3 L
Teacher’s Notes:
Make the NaOH in a beaker with 700mL water, let cool, transfer to volumetric and dilute. Stir again.
 |  |  | To make 1 L NH4Cl
1 L | 2.0 mol | 53.49 g | = 106.98 g NH4Cl
 | 1 L | 1 mol NH4Cl | 
M1V1 = M2V2  V1 = M2V2 M1 |  |  | To make 1 L HCl
M2 | V2 | M1 | V1 = 0.1667 mL
2 | 1 L | 12 M | = 166.7 mL
M1V1 = M2V2  V1 = M2V2 M1 |  |  | To make 1 L NaOH
M2 | V2 | M1 | V1 = 0.5 mL
2 | 1 L | 4 M | = 500 mL
 |  |  | To make 1 L NaOH
1 L | 2.0 mol | 40 g | = 80 g NaOH
 | 1 L | 1 mol NaOH | 
or
M1V1 = M2V2  V1 = M2V2 M1 |  |  | To make 1 L NH4OH
M2 | V2 | M1 | V1 = 0.1351 mL
2 | 1 L | 14.8 M | = 135.1 mL

## Slide 27
TWO TRIALS |  |  |  | 
Chemical | mL per period | x _____ periods | = total needed | Rounded up for extra
HCl, 2.0 M | 500 | x 4 | 2000 mL | 3 L
NaOH, 2.0 M | 500 | x 4 | 2000 mL | 3 L
NH4Cl, 2.0 M | 300 | x 4 | 1200 mL | 2 L
NH4OH, 2.0 M | 300 | x 4 | 1200 mL | 2 L
 |  |  | To make 1 L NH4Cl
1 L | 2.0 mol | 53.49 g | = 106.98 g NH4Cl
 | 1 L | 1 mol NH4Cl | 
M1V1 = M2V2  V1 = M2V2 M1 |  |  | To make 1 L HCl
M2 | V2 | M1 | V1 = 0.333 L
2 | 1 L | 6 M | = 333 mL
M1V1 = M2V2  V1 = M2V2 M1 |  |  | To make 1 L NaOH
M2 | V2 | M1 | V1 = 0.333 L
2 | 1 L | 6 M | = 333 mL
 |  |  | To make 1 L NaOH
1 L | 2.0 mol | 40 g | = 80 g NaOH
 | 1 L | 1 mol NaOH | 
or
Teacher’s Notes:
Make the NaOH in a beaker with 700mL water, let cool, transfer to volumetric and dilute. Stir again.
M1V1 = M2V2  V1 = M2V2 M1 |  |  | To make 1 L NH4OH
M2 | V2 | M1 | V1 = 0.3333 mL
2 | 1 L | 6 M | = 333.3 mL

## Slide 28
Part 1 – Lab bench #1 and #2 – Rxn 1 = ∆ 13 deg
50mL HCl + 50mL NaOH
Part 2 – Lab bench #3, #4 and #5 – Rxn 2 – ∆ 1 deg
50mL NH4Cl + 50mL NaOH
Part 3 – Lab bench #6, #7 and #8 – Rxn 3 – ∆ 11 deg
50mL HCl + 50mL NH4OH
Part 4 - Everyone
Data analysis
Find max/min temps
Report data on shared spreadsheet

## Slide 29
Rxn 1 – Lab bench #1 and #2
50mL HCl + 50mL NaOH
Rxn 2 – Lab bench #3, #4 and #5
50mL NH4Cl + 50mL NaOH
Rxn 3 – Lab bench #6, #7 and #8
50mL HCl + 50mL NH4OH
Part 4 - Everyone
Data analysis
Find max/min temps
Report data on shared spreadsheet  https://tinyurl.com/2p894e48
Tips
One graph with two trial lines
After each trial  Experiment  Store latest run
Write down which color line is which trial
Cleanup
Goggles in UV Cabinet nicely!
Reset trays for next period!
Used chemicals can go down the drain  FLUSH DRAIN WITH WATER!
Extra chemicals STAY ON THE TABLE!

## Slide 30
Cleanup
Goggles in UV Cabinet nicely!
Stay on table:
Ring stand w/clamp
Stir Plate with cord unplugged, nicely next to the stir plate
Up Front
Stir bar
Stir bar retriever
Vernier computer interface back in the box
Temp probe
Styrofoam cup
Put away in cabinets/drawers:
Graduated cylinders – top cabinet by table 3
DI water bottles – top cabinet by table 3
Any clean/dry beakers – in top cabinets, shelves have labels for sizes you can leave tape on them
Trays
    stacked nicely by table 5
Trash
Pipettes
Paper towels
WIPE DOWN BENCHES WITH WATER and TOWELS

## Slide 31: Unit 2 – Thermodynamics

## Slide 32: Determining the Entropy of a Reaction

## Slide 33: Entropy of a Rxn
Chemicals
NaNO3 x 8.5 g per table x 2 benches
NH4Cl x 5.5 g per table x 3 benches
NH4NO3 x 8 g per table x 3 benches
Equipment
Vernier computer interface
Temp probe
Styrofoam cup small w/a lid
600mL beaker
100mL beaker w/color tape
50mL graduated cylinder
Stir bar and wand
Scoop
Weigh boat
Stir plate
Ring stand
Utility clamp
DI H2O bottle
4 goggles in each tray

## Slide 34
TWO TRIALS |  |  |  |  | 
Chemical | g per trial | x 2 trials | x _____ tables | x _____ periods | = total needed
NaNO3 | 4.25 | 8.5 | x 2 | x 4 | 68 g
NH4Cl | 2.675 | 5.349 | x 3 | x 4 | 64.2 g
NH4NO3 | 4 | 8 | x 3 | x 4 | 96 g
Teacher’s Notes:
CHECK MASSES in the chemical bottles
Accepted dS NH4NO3 = 108 J/mol.K
 |  |  | To make 50mL 1 M NaNO3 (student’s make at their bench)
0.05 L | 1.0 mol | 85.00 g | = 4.25 g NaNO3
 | 1 L | 1 mol NaNO3 | 
 |  |  | To make 50mL 1 M NH4Cl NaNO3 (student’s make at their bench)
0.05 L | 1.0 mol | 53.49 g | = 2.675 g NH4Cl
 | 1 L | 1 mol NH4Cl | 
 |  |  | To make 50mL 1 M NH4NO3 NaNO3 (student’s make at their bench)
0.05 L | 1.0 mol | 80 g | = 4 g NH4NO3
 | 1 L | 1 mol NH4NO3 | 
NH4NO3 ∆T = -5

## Slide 35
TWO TRIALS |  |  |  |  | 
Chemical | g per trial | x 2 trials | x _____ tables | x _____ periods | = total needed
NaNO3 | 4.25 | 8.5 | x 2 | x 4 | 68 g
NH4Cl | 2.675 | 5.349 | x 3 | x 4 | 64.2 g
NH4NO3 | 1.2 | 2.4 | x 8 | x 4 | 77 g
Teacher’s Notes:
CHECK MASSES in the chemical bottles
Accepted dS NH4NO3 = 108 J/mol.K
 |  |  | To make 50mL 1 M NaNO3 (student’s make at their bench)
0.05 L | 1.0 mol | 85.00 g | = 4.25 g NaNO3
 | 1 L | 1 mol NaNO3 | 
 |  |  | To make 50mL 1 M NH4Cl NaNO3 (student’s make at their bench)
0.05 L | 1.0 mol | 53.49 g | = 2.675 g NH4Cl
 | 1 L | 1 mol NH4Cl | 
 |  |  | To make 50mL 1 M NH4NO3 NaNO3 (student’s make at their bench)
0.015 L | 1.0 mol | 80 g | = 1.2 g NH4NO3
 | 1 L | 1 mol NH4NO3 | 
NH4NO3 ∆T = -5

## Slide 37
Tips
One graph with three trial lines
After each trial  Experiment  Store latest run
Write down which color line is which trial
Chemicals
NaNO3 = benches 1, 2
NH4Cl = benches 3, 4, 5
NH4NO3 = benches 6, 7, 8
Cleanup
Goggles in UV Cabinet nicely!
Reset trays for next period!
Stir bar to me!
Used chemicals can go down the drain  FLUSH DRAIN WITH WATER!

## Slide 38
Tips
One graph with two trial lines
After each trial  Experiment  Store latest run
Write down which color line is which trial
Chemicals
NH4NO3 = ALL benches this year!
Cleanup
Goggles in UV Cabinet nicely!
Reset trays for next period!
Unused chemicals  stay on table
Used chemicals can go down the drain  FLUSH DRAIN WITH WATER!

## Slide 39
Chemicals
NH4NO3 = ALL benches this year!
Cleanup
Goggles in UV Cabinet nicely!
Reset trays for next period!
Unused chemicals  stay on table
Used chemicals can go down the drain  FLUSH DRAIN WITH WATER!

## Slide 40
Cleanup
Goggles in UV Cabinet nicely!
Stay on table:
Ring stand w/clamp
Hot plate – Cords UP FRONT!
Any beakers with extra chemicals
Up Front
Vernier computer interface back in the box
Temp probe clean and dry!
Styrofoam cup clean and dry!
Stir bars
Hot plate cords
Stir plate cords
Put away in cabinets/drawers:
Graduated cylinders – top cabinet by table 3
DI water bottles – top cabinet by table 3
Scoop – drawer table 2
Any clean/dry beakers – in top cabinets
Stir Plate – cords in the blue bin up front
– stir plate in top cabinets by table 5
Weigh boats – washed, dried, in top cabinet by back door
Trays
    - stacked nicely by table 5

## Slide 41: Unit 3 – Kinetics

## Slide 42: Beers Law Activity

## Slide 43: Beer’s Law Activity
Chemicals
0.40 M copper (II) sulfate solution
  250 mL per period
Unknown concentration ~0.20 M
Sometimes CuCl2
BLUE pipette = copper
Green = unknown
Unlabled = water
Equipment
Venier computer interface
Spectrometer
Cuvette
20x150 mm test tubes x5
50mL graduated cylinder
100mL beakers x2
Reusable Pipettes x 2
Pipette pumps
Test tube rack
Stir rod
Kimwipes
Distilled H2O bottle

## Slide 44
1 Trial |  |  |  |  | 
Chemical | mL per table | x _____ tables | x _____ periods | = total needed | Rounded up for extra
0.40M CuSO4 | 30 | x 8 | x 4 | 960 mL | 2 L
0.20 CuSO4 | 5 | x 8 | x 4 | 160 mL | 1 L
Teacher’s Notes:
Accepted value = ~0.20 M
0.2 M done, need more copper sulfate to make 0.4 M
Slow to dissolve but will.
Mix in a big beaker first until dissolved then pour in vol. flask and dilute to mark.
Optimal wavelength = 635nm, absorbance no greater than ~0.90
 |  |  | To make 1L 0.40M CuSO4•H2O
1 L | 0.40 mol | 249.68 g | = 99.87 g CuSO4
 | 1 L | 1 mol CuSO4•H2O | 
 |  |  | To make 1L 0.20M CuSO4•H2O
1 L | 0.2 mol | 249.68 g | = 49.94 g CuSO4
 | 1 L | 1 mol CuSO4•H2O | 

## Slide 45
Reminders
Fill cuvettes THEN put them in spectrometers
DON’T get the spectrometers wet!
Have someone hold the beaker while you pipette so it doesn’t get knocked off table.
Remember – read from eye level, not above! Grad cylinders AND the graduated pipettes.
Make sure you press the “KEEP” button between known trials! (maybe? Is this true for the chromebooks?)
When doing your unknown – DO NOT press ANYTHING! Just put your cuvette in and look at the computer screen - record your value that it reads you
CuSO4 = blue labeled pipette
Waste Jug
Unknown CuSO4
Cleanup
Goggles in UV Cabinet nicely!
Reset trays for next period!
Waste up front for the contest!
*CuSO4 must go in WASTE JUG up front!!!!*
USE THE SAME CUVETTE EACH TIME!
Optimal Wavelength is 635 nm

## Slide 46
Cleanup
****CuSO4 must go in WASTE JUG up front!!!!****
Goggles in UV Cabinet nicely!
Stay on table:
Nothing!
Up Front
Vernier Spectrometers
Wet cuvettes and lids in beaker - dry them as much as you can
Test tubes IN THE RACKS UPSIDE DOWN TO HELP DRY
Kimwipes
Pipettes
Pipette pumps
Put away in cabinets/drawers:
Stir rods – in drawer on table
Graduated cylinders – top cabinet by table
DI water bottles – top cabinet by table
Any clean/dry beakers – in top cabinets, shelves have labels for sizes you can leave tape on them
Trays
    - stacked nicely by table 5

## Slide 47: Rate and Order of a Chemical Reaction (Pheno version)

## Slide 48: Rate and Order
Chemicals
Dilute Phenolphthalein dropper bottle
Sodium hydroxide, NaOH, 2.0 M
Distilled H2O
Equipment
Spectrometer
Cuvette with lid
50mL beaker
Disposable pipette for filling cuvette
Kimwipes
Distilled H2O
Thermometer

## Slide 49
Reminders
2.0 M NaOH
One cuvette for whole experiment!
Fill cuvettes THEN put them in spectrometers
DON’T get the spectrometers wet!
Once you combine your chemicals the reaction starts! Combine then get into the cuvette and the spec FAST!!!!

## Slide 50
Cleanup
****Solution must go in WASTE JUG up front!!!!****
Goggles in UV Cabinet nicely!
Stay on table:
Nothing!
In trashcan in the back:
Disposable pipettes
On cart:
Vernier interface in box
Spectrometers w/ cuvettes DRIED in the 400mL beaker!
Kimwipes
Put away in cabinets/drawers:
DI water bottles – top cabinet by table 3
Any clean/dry beakers – in top cabinets, shelves have labels for sizes you can leave tape on them

## Slide 51
1 Trial |  |  |  |  | 
Chemical | mL per table | x _____ tables | x _____ periods | = total needed | Rounded up for extra
2.0 M NaOH |  | x 8 | x 4 |  | 
 |  | x 8 | x 4 |  | 
Teacher’s Notes:
Accepted value = 1st order
NaOH should be standardized
Optimal wavelength = 535 nm
 |  |  | To make 1L 2.0 M NaOH
1 L | 0.20 mol | 40 g | = 80 g NaOH + 1.6g b/c always too low (additional 20% moles)
 | 1 L | 1 mol NaOH | 
 |  |  | To make 1L
1 L | 0.02 mol | 270.32 g | =
 | 1 L | 1 mol FeCl3 | 
M1 | V1 | M2 | V2 | To make 1L 0.2M NaOH
6 M | X L | 0.2 M | 1 L | X = 0.333 x 1000 = 33.3 mL

## Slide 52: Rate and Order of a Chemical Reaction (Fe version)

## Slide 53: Rate and Order
Chemicals
0.02 M KI
DI Water
0.02 M FeCl3 made in 0.10 M HCl MUST BE MADE NO EARLIER THAN THE DAY BEFORE
Each Group needs 75mL each chemical
600mL per period
Equipment
Spectrometer
Cuvette
Volumetric pipettes x3 orange, green, blue tape
Pipette pumps
Dark Green - orange & blue tape
Light green no tape
250mL beakers x3 labeled w/ orange, green, blue tape
100mL beakers x3 labeled w/ orange, green, blue tape
600mL beaker x1 for waste labeled with red tape
Disposable pipette for filling cuvette
Kimwipes
Distilled H2O

## Slide 54
Reminders
0.02 M KI
DI Water
0.02 M FeCl3
One cuvette for whole experiment!
Make as little waste as possible!
Fill cuvettes THEN put them in spectrometers
DON’T get the spectrometers wet!
Once you combine your chemicals the reaction starts! Combine then get into the cuvette and the spec FAST!!!!

## Slide 55
Cleanup
****Solution must go in WASTE JUG up front!!!!****
Goggles in UV Cabinet nicely!
Stay on table:
Nothing!
In trashcan in the back:
Disposable pipettes
On cart:
Vernier interface in box
Spectrometers w/ cuvettes DRIED in the 400mL beaker!
Kimwipes
Put away in cabinets/drawers:
DI water bottles – top cabinet by table 3
Any clean/dry beakers – in top cabinets, shelves have labels for sizes you can leave tape on them

## Slide 56
1 Trial |  |  |  |  | 
Chemical | mL per table | x _____ tables | x _____ periods | = total needed | Rounded up for extra
0.02 M KI | 75 | x 8 | x 4 | 2400 mL | 3 L
0.02 FeCl3 | 75 | x 8 | x 4 | 2400 mL | 3 L
Teacher’s Notes:
CANNOT MAKE AHEAD OF TIME!
AT THE MOST MAKE IT THE DAY BEFORE.
Optimal wavelength = 430 nm
 |  |  | To make 1L 0.02M KI
1 L | 0.02 mol | 166.0 g | = 3.320 g KI
 | 1 L | 1 mol KI | 
 |  |  | To make 1L 0.02M FeCl3 IN 0.10 M HCl
1 L | 0.02 mol | 270.32 g | = 5.406 g FeCl3
 | 1 L | 1 mol FeCl3 | 
M1 | V1 | M2 | V2 | To make 1L 0.01M HCl
1 M | X L | 0.10 M | 1 L | X = 0.10 x 1000 = 100 mL

## Slide 57: Unit 4 – Equilibrium

## Slide 58: Determination of an Equilibrium Constant

## Slide 59: Determination of an Eq. Constant
Chemicals
Equipment
Acetic Acid, 1M
Ice
NaCl, Rock Salt

## Slide 60: Determination of an Eq. Constant
Chemicals
Equipment
Virtual Lab
Data in shared data folder and also in Equilibrium chapter folder with lab handouts

## Slide 61: Unit 7 – Gas Laws

## Slide 62: Molar Mass of a Gas Lab

## Slide 63: Molar Mass of a Gas
Chemicals
Copper wire, 18 gauge, 10cm long
2M HCl, 10mL
Mg ribbon, 1cm, x2 pieces
DI water
Equipment
400 mL beaker
Graduated cylinder, 10mL
Eudiometer tube, 50mL
One hole rubber stopper
Scale
Thermometer
Barometer
Metric ruler
Scissors or wire cutters

## Slide 64: Molar Mass of a Gas
Don’t drip acid all over! Cover the hole in the rubber stopper with a gloved finger when moving/transferring the tube around!
Don’t forget to take the temperature of the water!
~ 2cm, make sure mass of Mg is between 0.02 – 0.03 grams

## Slide 65
1 Trial |  |  |  |  | 
Chemical | mL per table | x _____ tables | x _____ periods | = total needed | Rounded up for extra
2 M HCl | 15 | x 8 | x 4 | 480 mL | 1 L
Teacher’s Notes:
Magnesium is in the orange bin in the “random” cabinet in the back corner
Accepted Value = 22.4 L, density H2 = 0.0899 g/L

## Slide 66: Unit 8 – IMFs

## Slide 67: Rate of Evaporation

## Slide 68: ADD YOUR DATA TO SHARED GOOGLE SHEET!
Table 1 | Hexane WEAR GLOVES | Ethanol
Table 2 |  | 
Table 3 |  | 
Table 4 |  | 
Table 5 | Acetone TAKES OFF NAILPOLISH! | Water
Table 6 |  | 
Table 7 |  | 
Table 8 |  | 

## Slide 69
MOST to LEAST IMFs (and their typical delta T values)
Water 8  9 H-bonding x2
Ethanol 10  12 H-bonding x1
Hexane 14  20 LDF (lots of them!)
Acetone 17  22 DP-DP

## Slide 70: Unit 9 – Solutions

## Slide 71: Ksp of Ca(OH)2

## Slide 72
Accepted value = 6.5 x 10-6
Normal to have very high % errors for some reason – ask on ap group at some point

## Slide 73: Unit 10 – Acid Base

## Slide 74: Buffers

## Slide 75: Titration
Chemicals
0.1 M NaOH
0.1 M HCl
0.1 M HAc
DI water
Equipment
Ring stand
Burette clamp + Burette
Clamp for pH probe + pH probe
50mL grad cylinder
15 mL grad cylinder
DI water bottle
250 mL beaker
Stir plate + cord + Stir bar + retriever
Labquest interface
Front table – two beakers for acids and pipette in each beaker.
Parafilm for covering between days
Extra rubber bands
Buffers made for calibration + extra beaker for wash
Two beakers for me to fill and rinse burettes + funnel

## Slide 76
1 Trial |  |  |  |  | 
Chemical | mL per table | x _____ tables | x _____ periods | = total needed | Rounded up for extra
0.1 M NaOH | 25 | x 8 | x 4 | 800 mL | 1 L
0.1 M HCl | 25 | x 8 | x 4 | 800 mL | 1 L
0.1 M Hac | 25 | x 8 | x 4 | 800 mL | 1 L
Teacher’s Notes:
Accepted should be 0.1 M but may change year to year.
Shock pH probes in 0.1 M – 0.5 M HCl for 4-8 hours. Rinse with DI water. Soak in storage solution for 30-60 min. Rinse with DI water. Check pH in buffer solutions (made with capsule kit). Storage solution and buffer capsules in same cupboard as pH probes.
https://www.vernier.com/files/manuals/ph-bta/ph-bta.pdf
 |  |  | To make 1L 0.1M NaOH
1 L | 0.1 mol | 40.00 g | = 4.00 NaOH
 | 1 L | 1 mol NaOH | 
M1 | V1 | M2 | V2 | To make 1L 0.1M HCl
3 M | X L | 0.10 M | 1 L | X = 0.0333 x 1000 = 33.33 mL
M1 | V1 | M2 | V2 | To make 1L 0.1M HCl
1 M | X L | 0.10 M | 1 L | X = 0.1 x 1000 = 100 mL

## Slide 77: Titration

## Slide 78: Titration
Chemicals
0.1 M NaOH
0.1 M HCl
0.1 M HAc
DI water
Equipment
Ring stand
Burette clamp + Burette
Clamp for pH probe + pH probe
50mL grad cylinder
15 mL grad cylinder
DI water bottle
250 mL beaker
Stir plate + cord + Stir bar + retriever
Labquest interface
Front table – two beakers for acids and pipette in each beaker.
Parafilm for covering between days
Extra rubber bands
Buffers made for calibration + extra beaker for wash
Two beakers for me to fill and rinse burettes + funnel

## Slide 79
1 Trial |  |  |  |  | 
Chemical | mL per table | x _____ tables | x _____ periods | = total needed | Rounded up for extra
0.1 M NaOH | 25 | x 8 | x 4 | 800 mL | 1 L
0.1 M HCl | 25 | x 8 | x 4 | 800 mL | 1 L
0.1 M Hac | 25 | x 8 | x 4 | 800 mL | 1 L
Teacher’s Notes:
Accepted should be 0.1 M but may change year to year.
Shock pH probes in 0.1 M – 0.5 M HCl for 4-8 hours. Rinse with DI water. Soak in storage solution for 30-60 min. Rinse with DI water. Check pH in buffer solutions (made with capsule kit). Storage solution and buffer capsules in same cupboard as pH probes.
https://www.vernier.com/files/manuals/ph-bta/ph-bta.pdf
 |  |  | To make 1L 0.1M NaOH
1 L | 0.1 mol | 40.00 g | = 4.00 NaOH
 | 1 L | 1 mol NaOH | 
M1 | V1 | M2 | V2 | To make 1L 0.1M HCl
3 M | X L | 0.10 M | 1 L | X = 0.0333 x 1000 = 33.33 mL
M1 | V1 | M2 | V2 | To make 1L 0.1M HCl
1 M | X L | 0.10 M | 1 L | X = 0.1 x 1000 = 100 mL

## Slide 80: Unit 11 – Electrochem

## Slide 81: Electroplating

## Slide 82: Titration
Chemicals
0.1 M NaOH
0.1 M HCl
0.1 M HAc
DI water
Equipment
Ring stand
Burette clamp + Burette
Clamp for pH probe + pH probe
50mL grad cylinder
15 mL grad cylinder
DI water bottle
250 mL beaker
Stir plate + cord + Stir bar + retriever
Labquest interface
Front table – two beakers for acids and pipette in each beaker.
Parafilm for covering between days
Extra rubber bands
Buffers made for calibration + extra beaker for wash
Two beakers for me to fill and rinse burettes + funnel

## Slide 83
1 Trial |  |  |  |  | 
Chemical | mL per table | x _____ tables | x _____ periods | = total needed | Rounded up for extra
0.1 M NaOH | 25 | x 8 | x 4 | 800 mL | 1 L
0.1 M HCl | 25 | x 8 | x 4 | 800 mL | 1 L
0.1 M Hac | 25 | x 8 | x 4 | 800 mL | 1 L
Teacher’s Notes:
Accepted should be 0.1 M but may change year to year.
Shock pH probes in 0.1 M – 0.5 M HCl for 4-8 hours. Rinse with DI water. Soak in storage solution for 30-60 min. Rinse with DI water. Check pH in buffer solutions (made with capsule kit). Storage solution and buffer capsules in same cupboard as pH probes.
https://www.vernier.com/files/manuals/ph-bta/ph-bta.pdf
 |  |  | To make 1L 0.1M NaOH
1 L | 0.1 mol | 40.00 g | = 4.00 NaOH
 | 1 L | 1 mol NaOH | 
M1 | V1 | M2 | V2 | To make 1L 0.1M HCl
3 M | X L | 0.10 M | 1 L | X = 0.0333 x 1000 = 33.33 mL
M1 | V1 | M2 | V2 | To make 1L 0.1M HCl
1 M | X L | 0.10 M | 1 L | X = 0.1 x 1000 = 100 mL

## Slide 84: Unit 12 – After AP Exam

## Slide 85: Lemonade Lab

## Slide 86: Titration
Chemicals
0.1 M NaOH
0.1 M HCl
0.1 M HAc
DI water
Equipment
Ring stand
Burette clamp + Burette
Clamp for pH probe + pH probe
50mL grad cylinder
15 mL grad cylinder
DI water bottle
250 mL beaker
Stir plate + cord + Stir bar + retriever
Labquest interface
Front table – two beakers for acids and pipette in each beaker.
Parafilm for covering between days
Extra rubber bands
Buffers made for calibration + extra beaker for wash
Two beakers for me to fill and rinse burettes + funnel

## Slide 87
1 Trial |  |  |  |  | 
Chemical | mL per table | x _____ tables | x _____ periods | = total needed | Rounded up for extra
0.1 M NaOH | 25 | x 8 | x 4 | 800 mL | 1 L
0.1 M HCl | 25 | x 8 | x 4 | 800 mL | 1 L
0.1 M Hac | 25 | x 8 | x 4 | 800 mL | 1 L
Teacher’s Notes:
Accepted should be 0.1 M but may change year to year.
Shock pH probes in 0.1 M – 0.5 M HCl for 4-8 hours. Rinse with DI water. Soak in storage solution for 30-60 min. Rinse with DI water. Check pH in buffer solutions (made with capsule kit). Storage solution and buffer capsules in same cupboard as pH probes.
https://www.vernier.com/files/manuals/ph-bta/ph-bta.pdf
 |  |  | To make 1L 0.1M NaOH
1 L | 0.1 mol | 40.00 g | = 4.00 NaOH
 | 1 L | 1 mol NaOH | 
M1 | V1 | M2 | V2 | To make 1L 0.1M HCl
3 M | X L | 0.10 M | 1 L | X = 0.0333 x 1000 = 33.33 mL
M1 | V1 | M2 | V2 | To make 1L 0.1M HCl
1 M | X L | 0.10 M | 1 L | X = 0.1 x 1000 = 100 mL

## Slide 88: Standardizing NaOH lab

## Slide 89: Titration
Chemicals
0.1 M NaOH
0.1 M HCl
0.1 M HAc
DI water
Equipment
Ring stand
Burette clamp + Burette
Clamp for pH probe + pH probe
50mL grad cylinder
15 mL grad cylinder
DI water bottle
250 mL beaker
Stir plate + cord + Stir bar + retriever
Labquest interface
Front table – two beakers for acids and pipette in each beaker.
Parafilm for covering between days
Extra rubber bands
Buffers made for calibration + extra beaker for wash
Two beakers for me to fill and rinse burettes + funnel

## Slide 90
1 Trial |  |  |  |  | 
Chemical | mL per table | x _____ tables | x _____ periods | = total needed | Rounded up for extra
0.1 M NaOH | 25 | x 8 | x 4 | 800 mL | 1 L
0.1 M HCl | 25 | x 8 | x 4 | 800 mL | 1 L
0.1 M Hac | 25 | x 8 | x 4 | 800 mL | 1 L
Teacher’s Notes:
Accepted should be 0.1 M but may change year to year.
Shock pH probes in 0.1 M – 0.5 M HCl for 4-8 hours. Rinse with DI water. Soak in storage solution for 30-60 min. Rinse with DI water. Check pH in buffer solutions (made with capsule kit). Storage solution and buffer capsules in same cupboard as pH probes.
https://www.vernier.com/files/manuals/ph-bta/ph-bta.pdf
 |  |  | To make 1L 0.1M NaOH
1 L | 0.1 mol | 40.00 g | = 4.00 NaOH
 | 1 L | 1 mol NaOH | 
M1 | V1 | M2 | V2 | To make 1L 0.1M HCl
3 M | X L | 0.10 M | 1 L | X = 0.0333 x 1000 = 33.33 mL
M1 | V1 | M2 | V2 | To make 1L 0.1M HCl
1 M | X L | 0.10 M | 1 L | X = 0.1 x 1000 = 100 mL